{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["GEX Doc# 100-257"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"GEX Doc# 100-257","index":0,"n_rows":52,"n_cols":8,"rows_kept":52,"merged":[[0,0,0,1],[0,2,0,3],[0,6,0,7],[1,0,1,1],[1,2,1,3],[1,6,1,7],[2,0,2,1],[2,2,2,3],[2,6,2,7],[3,0,3,1],[3,2,3,3],[3,6,3,7],[4,0,4,1],[4,2,4,3],[4,6,4,7],[5,6,5,7],[46,0,46,1],[46,2,46,7],[47,0,47,1],[47,2,47,7],[48,0,48,1],[49,0,49,1]],"flags":["formulas_cached_only"]}
["Technician Name:",{"$nulls":4},"Dosimeter Batch:"]
["Spectophotometer ID:",{"$nulls":4},"Assigned Stock ID:"]
["Instrument Calibrated?:",{"$nulls":4},"Quantity Received:"]
["Wavelength(nm):",{"$nulls":4},"Date Received:"]
["Date Measured:",{"$nulls":4},"Average Thickness(mm):"]
[]
[]
["Dosimeter","Unirradiated","Current Stock","New Stock","Current Stock","New Stock","Current Stock","New Stock"]
["Number","Absorbance (Ao)","Low Dose (kGy)","Low Dose (kGy)","Med Dose (kGy)","Med Dose (kGy)","High Dose (kGy)","High Dose (kGy)"]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
["Min",{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"}]
["Max",{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"}]
["Average",{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
["Std Dev",{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
["C.V. (%)",{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
["Initial Absorbance Analysis",null,"Analysis of Stock Response Comparison Data"]
["Lies between 0.036 and 0.041?",null,"New Stock Dose Average within ±2 Standard Deviations from Current Stock Dose Average?"]
[{"$error":"#DIV/0!"},null,"+ 2 stdev Test","- 2 stdev Test","+ 2 stdev Test","- 2 stdev Test","+ 2 stdev Test","- 2 stdev Test"]
["Comparison Against Batch Baseline",null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
["Baseline Value","Pass/Fail?"]
[null,{"$error":"#DIV/0!"}]